ModelZ01Z02Z20Z20BGrade 2 Class III●●--Grade 3 Class III--●●●Weatherproof casing●●●●Sealed Reed Switch●●--ABS Body●●--EVA Diaphragm●●--Fitted Resistor-●--Ind. Terminals-●--LED Green-●--LED Red-●--Sound Pressure 90DBA/30cm●●--Z01-Z02LengthWidthHeightDimensions Fascia45256mmDimensions Body45 2715.5mmMicro-Switch--●●Tampered----Flush Mounted●●--Surface Mounted--●●Concealed Fixings--●●Z20-Z20BLengthWidthHeightDimensions543521mm

© Knight Fire & Security Products Ltd

All cases of ™ Infringement will be pursued.

Description:

Grade 2 & 3 Class III

Final Exit Set Switch

Materials:

Body and Cover Plate - ABS

Diaphragm - EVA

Temperature Range:

-40oC to +125oC

Reed:

Sealed Magnetic Reed Switch

Switching Current

500mA Max DC

Voltage Range:

200v DC Max

Colours:

ZO1 – ZO2 – White

Z20 – White,  Z20B - Black

Fittings:

Wire Clamping Terminals

Concealed Fixing Screws

Fig. 3 – Z20 Final Exit Set Switch

Unit 84 Seawall Road Ind. Estate

Cardiff  UK CF24 5TH

Tel:0 (00 44) 29 20 48 81 29

Fax:0 (00 44) 29 20 48 91 32

Knight

Fire & Security Products Ltd

mailto:info@knightfireandsecurity.com

Drawing No:ZO1-Z20 Final

Exit Switches

Drawn:Chris Moorman

Date:04/09/09

All dimensions in mm

Do not scale

Fig. 1 - Z01 Flush Final Exit Set Switch

Fig. 2 - Z02 Flush Final Exit Set Switch

Fig. 4 – Z20B Final Exit Set Switch